## Executive Summary
Factory A DPPA Commercial Negotiation Sweep
Scenarios evaluated | 20
Balanced deals | 0
Negotiation frontier terms | 0
Buyer 10yr savings vs BAU threshold | 0
Buyer lifetime savings vs BAU threshold | 0
Seller equity IRR threshold | 0.12
Lender minimum DSCR threshold | 1.2
Recommended starting range | none
Buyer-best term | strike_1200_volume_100
Buyer-best 10yr savings vs BAU | 0.029233
Buyer-best lifetime savings vs BAU | 0.029132
Lender-best term | strike_1400_volume_70
Lender-best minimum DSCR | 1.1891
Disclosure | Passing BAU does not mean beating non-DPPA case_2.

## Scenario Matrix
Scenario | Strike (VND/kWh) | Contract Volume | Annual Contracted Energy (kWh) | Buyer Year 1 Savings vs BAU (USD) | Buyer Year 1 Savings vs BAU | Buyer 10yr Savings vs BAU (USD) | Buyer 10yr Savings vs BAU | Buyer Lifetime Savings vs BAU (USD) | Buyer Lifetime Savings vs BAU | Buyer Savings vs non-DPPA case_2 (USD) | Buyer Savings vs non-DPPA case_2 | Buyer Year 1 Outflow (USD) | Seller Equity IRR | Seller NPV (USD) | Lender Minimum DSCR | Lender Average DSCR | Seller Year 1 Revenue (USD) | CfD Net Transfer (USD) | CfD Direction | Balanced Deal | Failed Gates | Negotiation Frontier
strike_1200_volume_70 | 1200 | 0.7 | 5527792.2469 | 18499.4186 | 0.024055 | 221598.7207 | 0.024 | 765451.7801 | 0.0239 | -38388.3035 | -0.053904 | 750545.1114 | 0.16757 | 1086162.6566 | 1.0972 | 1.2642 | 391833.612 | -16722.9273 | seller_to_buyer | FALSE | minimum_dscr_below_1_20x | FALSE
strike_1200_volume_80 | 1200 | 0.8 | 6317476.8536 | 20140.9811 | 0.02619 | 241307.495 | 0.026135 | 833816.1384 | 0.026034 | -36746.7411 | -0.051599 | 748903.5489 | 0.16638 | 1067694.2854 | 1.0921 | 1.2585 | 390192.0495 | -18364.4897 | seller_to_buyer | FALSE | minimum_dscr_below_1_20x | FALSE
strike_1200_volume_90 | 1200 | 0.9 | 7107161.4603 | 21553.5283 | 0.028026 | 258266.6889 | 0.027971 | 892642.9525 | 0.027871 | -35334.1938 | -0.049616 | 747491.0017 | 0.16535 | 1051802.4455 | 1.0877 | 1.2535 | 388779.5023 | -19777.037 | seller_to_buyer | FALSE | minimum_dscr_below_1_20x | FALSE
strike_1200_volume_100 | 1200 | 1 | 7896846.067 | 22523.3983 | 0.029288 | 269911.0517 | 0.029233 | 933034.0687 | 0.029132 | -34364.3239 | -0.048254 | 746521.1317 | 0.16465 | 1040890.9392 | 1.0847 | 1.2502 | 387809.6323 | -20746.907 | seller_to_buyer | FALSE | minimum_dscr_below_1_20x | FALSE
strike_1250_volume_70 | 1250 | 0.7 | 5527792.2469 | 11073.8389 | 0.014399 | 132446.4146 | 0.014345 | 456206.7663 | 0.014244 | -45813.8833 | -0.064331 | 757970.6911 | 0.17299 | 1169704.0202 | 1.1202 | 1.29 | 399259.1917 | -9297.3475 | seller_to_buyer | FALSE | minimum_dscr_below_1_20x | FALSE
strike_1250_volume_80 | 1250 | 0.8 | 6317476.8536 | 12340.6081 | 0.016047 | 147655.3813 | 0.015992 | 508962.5202 | 0.015891 | -44547.1141 | -0.062552 | 756703.9219 | 0.17206 | 1155452.2541 | 1.1162 | 1.2856 | 397992.4225 | -10564.1167 | seller_to_buyer | FALSE | minimum_dscr_below_1_20x | FALSE
strike_1250_volume_90 | 1250 | 0.9 | 7107161.4603 | 13441.176 | 0.017478 | 160868.9176 | 0.017423 | 554796.6706 | 0.017322 | -43446.5462 | -0.061007 | 755603.354 | 0.17125 | 1143070.3328 | 1.1128 | 1.2817 | 396891.8546 | -11664.6846 | seller_to_buyer | FALSE | minimum_dscr_below_1_20x | FALSE
strike_1250_volume_100 | 1250 | 1 | 7896846.067 | 14205.3961 | 0.018471 | 170044.226 | 0.018417 | 586623.3109 | 0.018316 | -42682.3261 | -0.059934 | 754839.1339 | 0.1707 | 1134472.487 | 1.1105 | 1.2791 | 396127.6345 | -12428.9047 | seller_to_buyer | FALSE | minimum_dscr_below_1_20x | FALSE
strike_1300_volume_70 | 1300 | 0.7 | 5527792.2469 | 3648.2591 | 0.0047439 | 43294.1085 | 0.0046889 | 146961.7525 | 0.0045886 | -53239.4631 | -0.074758 | 765396.2709 | 0.17845 | 1253245.3837 | 1.1431 | 1.3158 | 406684.7715 | -1871.7677 | seller_to_buyer | FALSE | minimum_dscr_below_1_20x | FALSE
strike_1300_volume_80 | 1300 | 0.8 | 6317476.8536 | 4540.2351 | 0.0059037 | 54003.2676 | 0.0058488 | 184108.9019 | 0.0057485 | -52347.4871 | -0.073506 | 764504.2949 | 0.17779 | 1243210.2227 | 1.1404 | 1.3127 | 405792.7955 | -2763.7437 | seller_to_buyer | FALSE | minimum_dscr_below_1_20x | FALSE
strike_1300_volume_90 | 1300 | 0.9 | 7107161.4603 | 5328.8236 | 0.0069291 | 63471.1463 | 0.0068742 | 216950.3887 | 0.0067739 | -51558.8985 | -0.072398 | 763715.7064 | 0.17721 | 1234338.22 | 1.1379 | 1.3099 | 405004.207 | -3552.3323 | seller_to_buyer | FALSE | minimum_dscr_below_1_20x | FALSE
strike_1300_volume_100 | 1300 | 1 | 7896846.067 | 5887.3939 | 0.0076555 | 70177.4002 | 0.0076005 | 240212.5531 | 0.0075002 | -51000.3283 | -0.071614 | 763157.1361 | 0.1768 | 1228054.0349 | 1.1362 | 1.308 | 404445.6367 | -4110.9025 | seller_to_buyer | FALSE | minimum_dscr_below_1_20x | FALSE
strike_1350_volume_70 | 1350 | 0.7 | 5527792.2469 | -3777.3207 | -0.0049117 | -45858.1976 | -0.0049666 | -162283.2613 | -0.005067 | -60665.0428 | -0.085185 | 772821.8507 | 0.18396 | 1336786.7473 | 1.1661 | 1.3416 | 414110.3513 | 5553.812 | buyer_to_seller | FALSE | buyer_10yr_savings_below_0_percent, buyer_lifetime_savings_below_0_percent, minimum_dscr_below_1_20x | FALSE
strike_1350_volume_80 | 1350 | 0.8 | 6317476.8536 | -3260.1379 | -0.0042392 | -39648.8462 | -0.0042941 | -140744.7163 | -0.0043945 | -60147.8601 | -0.084459 | 772304.6679 | 0.18357 | 1330968.1913 | 1.1645 | 1.3398 | 413593.1685 | 5036.6293 | buyer_to_seller | FALSE | buyer_10yr_savings_below_0_percent, buyer_lifetime_savings_below_0_percent, minimum_dscr_below_1_20x | FALSE
strike_1350_volume_90 | 1350 | 0.9 | 7107161.4603 | -2783.5287 | -0.0036195 | -33926.6251 | -0.0036744 | -120895.8932 | -0.0037747 | -59671.2509 | -0.083789 | 771828.0587 | 0.18322 | 1325606.1073 | 1.1631 | 1.3381 | 413116.5593 | 4560.0201 | buyer_to_seller | FALSE | buyer_10yr_savings_below_0_percent, buyer_lifetime_savings_below_0_percent, minimum_dscr_below_1_20x | FALSE
strike_1350_volume_100 | 1350 | 1 | 7896846.067 | -2430.6084 | -0.0031606 | -29689.4255 | -0.0032155 | -106198.2047 | -0.0033158 | -59318.3305 | -0.083294 | 771475.1384 | 0.18296 | 1321635.5827 | 1.162 | 1.3369 | 412763.639 | 4207.0997 | buyer_to_seller | FALSE | buyer_10yr_savings_below_0_percent, buyer_lifetime_savings_below_0_percent, minimum_dscr_below_1_20x | FALSE
strike_1400_volume_70 | 1400 | 0.7 | 5527792.2469 | -11202.9004 | -0.014567 | -135010.5037 | -0.014622 | -471528.2751 | -0.014723 | -68090.6226 | -0.095612 | 780247.4304 | 0.18952 | 1420328.1109 | 1.1891 | 1.3674 | 421535.931 | 12979.3918 | buyer_to_seller | FALSE | buyer_10yr_savings_below_0_percent, buyer_lifetime_savings_below_0_percent, minimum_dscr_below_1_20x | FALSE
strike_1400_volume_80 | 1400 | 0.8 | 6317476.8536 | -11060.5109 | -0.014382 | -133300.9599 | -0.014437 | -465598.3346 | -0.014537 | -67948.2331 | -0.095412 | 780105.0409 | 0.18941 | 1418726.16 | 1.1887 | 1.3669 | 421393.5415 | 12837.0023 | buyer_to_seller | FALSE | buyer_10yr_savings_below_0_percent, buyer_lifetime_savings_below_0_percent, minimum_dscr_below_1_20x | FALSE
strike_1400_volume_90 | 1400 | 0.9 | 7107161.4603 | -10895.8811 | -0.014168 | -131324.3964 | -0.014223 | -458742.1751 | -0.014323 | -67783.6032 | -0.095181 | 779940.4111 | 0.18929 | 1416873.9946 | 1.1882 | 1.3663 | 421228.9117 | 12672.3724 | buyer_to_seller | FALSE | buyer_10yr_savings_below_0_percent, buyer_lifetime_savings_below_0_percent, minimum_dscr_below_1_20x | FALSE
strike_1400_volume_100 | 1400 | 1 | 7896846.067 | -10748.6106 | -0.013977 | -129556.2513 | -0.014032 | -452608.9625 | -0.014132 | -67636.3328 | -0.094974 | 779793.1406 | 0.18918 | 1415217.1305 | 1.1877 | 1.3658 | 421081.6412 | 12525.1019 | buyer_to_seller | FALSE | buyer_10yr_savings_below_0_percent, buyer_lifetime_savings_below_0_percent, minimum_dscr_below_1_20x | FALSE

## Balanced Deals
Scenario | Strike (VND/kWh) | Contract Volume | Annual Contracted Energy (kWh) | Buyer Year 1 Savings vs BAU (USD) | Buyer Year 1 Savings vs BAU | Buyer 10yr Savings vs BAU (USD) | Buyer 10yr Savings vs BAU | Buyer Lifetime Savings vs BAU (USD) | Buyer Lifetime Savings vs BAU | Buyer Savings vs non-DPPA case_2 (USD) | Buyer Savings vs non-DPPA case_2 | Buyer Year 1 Outflow (USD) | Seller Equity IRR | Seller NPV (USD) | Lender Minimum DSCR | Lender Average DSCR | Seller Year 1 Revenue (USD) | CfD Net Transfer (USD) | CfD Direction | Balanced Deal | Failed Gates | Negotiation Frontier

## Negotiation Frontier
Scenario | Strike (VND/kWh) | Contract Volume | Annual Contracted Energy (kWh) | Buyer Year 1 Savings vs BAU (USD) | Buyer Year 1 Savings vs BAU | Buyer 10yr Savings vs BAU (USD) | Buyer 10yr Savings vs BAU | Buyer Lifetime Savings vs BAU (USD) | Buyer Lifetime Savings vs BAU | Buyer Savings vs non-DPPA case_2 (USD) | Buyer Savings vs non-DPPA case_2 | Buyer Year 1 Outflow (USD) | Seller Equity IRR | Seller NPV (USD) | Lender Minimum DSCR | Lender Average DSCR | Seller Year 1 Revenue (USD) | CfD Net Transfer (USD) | CfD Direction | Balanced Deal | Failed Gates | Negotiation Frontier

## Strike-Volume Matrix
Strike / Contract Volume | 0.7 | 0.8 | 0.9 | 1
1200 | FALSE | FALSE | FALSE | FALSE
1250 | FALSE | FALSE | FALSE | FALSE
1300 | FALSE | FALSE | FALSE | FALSE
1350 | FALSE | FALSE | FALSE | FALSE
1400 | FALSE | FALSE | FALSE | FALSE

## Buyer 10yr Savings Heatmap
Strike / Contract Volume | 0.7 | 0.8 | 0.9 | 1
1200 | 0.024 | 0.026135 | 0.027971 | 0.029233
1250 | 0.014345 | 0.015992 | 0.017423 | 0.018417
1300 | 0.0046889 | 0.0058488 | 0.0068742 | 0.0076005
1350 | -0.0049666 | -0.0042941 | -0.0036744 | -0.0032155
1400 | -0.014622 | -0.014437 | -0.014223 | -0.014032

## Lifetime Savings Heatmap
Strike / Contract Volume | 0.7 | 0.8 | 0.9 | 1
1200 | 0.0239 | 0.026034 | 0.027871 | 0.029132
1250 | 0.014244 | 0.015891 | 0.017322 | 0.018316
1300 | 0.0045886 | 0.0057485 | 0.0067739 | 0.0075002
1350 | -0.005067 | -0.0043945 | -0.0037747 | -0.0033158
1400 | -0.014723 | -0.014537 | -0.014323 | -0.014132

## ESCO IRR Heatmap
Strike / Contract Volume | 0.7 | 0.8 | 0.9 | 1
1200 | 0.16757 | 0.16638 | 0.16535 | 0.16465
1250 | 0.17299 | 0.17206 | 0.17125 | 0.1707
1300 | 0.17845 | 0.17779 | 0.17721 | 0.1768
1350 | 0.18396 | 0.18357 | 0.18322 | 0.18296
1400 | 0.18952 | 0.18941 | 0.18929 | 0.18918

## Minimum DSCR Heatmap
Strike / Contract Volume | 0.7 | 0.8 | 0.9 | 1
1200 | 1.0972 | 1.0921 | 1.0877 | 1.0847
1250 | 1.1202 | 1.1162 | 1.1128 | 1.1105
1300 | 1.1431 | 1.1404 | 1.1379 | 1.1362
1350 | 1.1661 | 1.1645 | 1.1631 | 1.162
1400 | 1.1891 | 1.1887 | 1.1882 | 1.1877

## Methodology
Fixed technical baseline | {'fixed_technical_results': 'outputs\\vietnam_case\\factory_a\\case_6\\results.json', 'non_dppa_case_2_assumptions': 'outputs\\vietnam_case\\factory_a\\case_2\\assumptions.json', 'reference_case': 'case_6', 'validated_dppa_inputs': 'outputs\\vietnam_case\\factory_a\\case_6\\assumptions.json', 'reference_case_results': 'outputs\\vietnam_case\\factory_a\\case_6\\results.json', 'reference_case_workbook': 'outputs\\vietnam_case\\factory_a\\case_6\\vietnam_report_96571e84-2d04-401b-8135-e0c9766ad445.xlsx', 'case_2_run_uuid': 'f16c98f3-2be2-4426-be44-909150f01072', 'reference_case_run_uuid': '96571e84-2d04-401b-8135-e0c9766ad445'}
Scenario grid | CfD strike 1400-2200 VND/kWh x contract volume 70%-100%.
Buyer gate | Cumulative savings versus EVN-only BAU >= 0% over both the first 10 years and the full project lifetime.
Seller gate | Equity IRR >= 12%.
Lender gate | Minimum DSCR in debt-service years >= 1.20x.
Frontier | Non-dominated balanced terms on buyer lifetime savings vs BAU and seller equity IRR.
Important disclosure | non-DPPA case_2 comparison is reported but is not a qualification gate.